|  | NABL 158 |
| --- | --- |
|  | National Accreditation Board for Testing and Calibration Laboratories (NABL) |

Application Form for Accreditation of Product Based Testing Laboratories

| ISSUE NO.: 01 ISSUE DATE: 10-05-2022 | AMENDMENT NO.: -- AMENDMENT DATE: -- |
| --- | --- |

AMENDMENT SHEET

| S. No. | Page No. | Clause No. | Date of Amendment | Amendment | Reasons | Signature QA Team | Signature Competent Authority |
| --- | --- | --- | --- | --- | --- | --- | --- |

CONTENTS

| ### S. No. | ##### Title | Page No. |
| --- | --- | --- |
|  | Amendment Sheet | 1 |
|  | Contents | 2 |
| 1 | Information & Instructions for completing an Application Form | 3 |
| 2 | Application Form | 6 |

### Information & Instructions for completing an Application Form

- Application shall be made in the prescribed form NABL 158 only. The application shall consist of the following:

- Completed application form

- Management System Document / Quality Manual

- Prescribed application fees

- Duly signed NABL-131.

Incomplete application, fraudulent behavior, false information and concealing the information may lead to rejection of application or termination of the assessment process.

- The applicant CAB shall undertake to carry out its testing activities in such a way as to meet the requirement of ISO/IEC 17025:2017 other relevant requirements of NABL and the regulatory authorities, as applicable at all times.

- The laboratory shall have complete test facilities and test environment, suitable for conducting all the test parameters under the Indian Standard relevant to the product applied.

- Applicant CABs are advised to ensure that the latest versions of NABL documents are available with them and are implemented.

- The application fee and other necessary charges related to accreditation process is given in NABL document NABL 100 ‘General Information Brochure’ under NABL Finance and NABL Fee Structure’. NABL 100 is available on NABL website.

- CABs are advised to familiarize themselves with NABL 100 ‘General Information Brochure’, NABL 216 ‘Procedures for Dealing with Adverse Decisions’, NABL 131 ‘Terms and Conditions for Obtaining and Maintaining Accreditation’ and NABL 133 ‘Policy for Use of NABL Symbol and / or Claim of Accreditation by Accredited Conformity Assessment Bodies (CAB) & NABL Accredited CAB Combined ILAC MRA Mark’ before filling up this form.

- The applicant CAB shall provide photocopy of following appropriate document(s) in support of the legal status claimed:

| Type of Legal Identity | Document(s) to be submitted |
| --- | --- |
| Limited Liability Partnership | Registration certificate under The Limited Liability Partnership Act, 2008 |
| Company | Registration certificate under The Companies Act, 1956 or 2013 |
| Societies/ Trust | Registration certificate under Societies Registration Act, 1860/ Registration under The Indian Trusts Act, 1882 |
| Government | Gazette or Government Notification or self-Declaration on Letter head by Head of the organization |

- The applicant laboratory shall provide the complete address of the location of the laboratory for which it is seeking accreditation including the PIN Code. It shall also provide any document issued by Government/local authorities in support of the address. In case the laboratory is part of a large organization/institution, then the name/number of the building, floor etc., where the laboratory seeking accreditation is located, shall be provided.

- The applicant CAB shall intimate NABL about any change in the information provided in this application such as scope applied for accreditation, personnel, and location etc. within 15 days from the date of changes.

- The applicant CAB shall participate satisfactorily in the Proficiency Testing (PT) program conducted by APAC or any other national or international accredited / recognized PT provider. In cases, where formal accredited / recognized PT programmes are not available, the CAB will either initiate Inter CAB comparison or participate in appropriate ILC programme conducted by accredited / reputed CAB.  For participation in PT, refer NABL document NABL 163: Policy for Participation in Proficiency Testing Activities.

- The CAB shall also inform NABL in advance about any reservation with valid reason regarding appointment of Lead Assessor/ Assessor for the assessment.

- The applicant CAB shall be given due notice of any intended changes relating to NABL accreditation criteria and will also be given such time, as in the opinion of NABL is reasonable to carry out the necessary changes to its policies/practices & procedure(s). The CAB shall inform NABL when such changes have been completed.

- The application must be filled up carefully to provide required information in such a manner that further correspondence for seeking clarifications are not required. Particularly the scope of accreditation (para 2.2) shall be complete to indicate unambiguously:

- Range of Testing/ Limits of detection

- Uncertainty of Measurement () at Value

- The details of CAB locations (in case more than one) and the tests which the CAB intends to cover vide NABL accreditation must be listed clearly. The tests those are performed at site should be clearly identified in the scope of accreditation.

Note 1: Multilocation laboratory: A laboratory with more than one location in the same city with same legal identity and with overlapping scopes in different locations: The details of each location shall be explicitly mentioned in 1.1 of application form. In events where the laboratory operates from different city/ state, each laboratory shall apply separately for accreditation except those cases where safety or regulatory requirements are there for operation of the laboratory. In such cases, the laboratory shall provide the proper justification.

Note 2: Information about CAB’s locations in other cities/states shall be provided in the “Declaration Form”. Accurate, complete and relevant details shall be provided.

- If there is a specific government regulation concerning the testing activities covered in the scope of accreditation applied for. then provide the complete list of applicable regulations giving full details.

- The CAB shall submit NABL 131 duly signed by the Chief Executive or his/her Authorized Representative to NABL Secretariat along with this application form. By signing NABL 131 the CAB agrees to comply at all times with Terms and Conditions of NABL.

- The CAB shall offer the NABL or its representative cooperation in:

- undertaking any check to verify testing capability of the CAB.

- providing names of all personnel competent to report, review and authorization of results (Signing of test reports) of CABs

- offering access to relevant areas of the CAB for witnessing the test being performed.

- examination of all relevant documentation and records.

- interaction with all relevant personnel.

- The CAB shall discharge all non- conformities raised during the assessment within the stipulated time. The same shall be verified to the satisfaction of NABL. The final decision on accreditation shall rest with NABL.

- The proposed personnel for review, report and release of test results shall meet the minimum qualification and experience requirements as mentioned below:

| S. No | Minimum Qualifications | Minimum Years of Relevant hands-on Experience |
| --- | --- | --- |
|  | Bachelor degree in Engg / Technology or Post Graduate in Science in the same field of testing | Two Years’ experience |
|  | Bachelor degree in Engg / Technology or Post Graduate in Science in the Similar* field of testing | Three Years’ experience |
|  | Diploma in Engg. / Technology or Graduate in Science in the same field of testing. | Three Years’ experience |
|  | Diploma in Engg. / Technology or Graduate in Science in the Similar* field of testing | Five Years’ experience |
|  | ITI / Equivalent | Ten Years’ experience. |
|  | Irrespective of the qualifications and experience, a person accepted by a regulator, shall be considered eligible for those testing activities. |  |
| Note - - *Similar field may be considered when that particular subject is covered in the said qualification. - Qualification with specialized field like food, pharma, civil etc. shall be considered eligible for groups falling under more than one discipline of testing. - In addition to above, person for NDT (Metal testing) shall have either of the following: i) ASNT Level III ii) ISNT Level II as per IS 13805 iii) RDSO for UT iv) BARC Level II for RT v) ISO 9712 (Level II) vi) NAS 410/ EN 4179 (Level II) - For aerospace industry only - In each case, merely requisite qualifications and experience is not sufficient. The technical competence shall be verified by NABL assessment team during the assessment. |  |  |

Personnel declared by laboratory for review, report and release of test results shall not work in another laboratory which falls under different legal identity. However, in case of multiple locations, a person declared by laboratory for one location may be authorized at different laboratory’s location under the same legal identity, provided, there is one alternate permanent personnel available for review, report and release of test results at each location.

- Applied scope shall include all the applicable test parameters of any product as mentioned in the relevant Indian standard.

- Once the product has been selected in the scope, the product standard, test parameters, test methods along with the discipline & groups will be reflected in the application form (auto fetched from the database). Lab is required to fill the range of testing & Measurement Uncertainty (MU) as applicable.

- Assessment shall be carried out to assess the competency for all the relevant parameters as applied in the scope for accreditation as per the Indian standard.

- Product based accreditation will be granted to the laboratory who successfully demonstrates the competency for testing all the applicable test parameters of the particular product. If the lab is not able to demonstrate the competency for only single parameter (although competent for all other parameters), in such case, the accreditation for the particular product will not be granted under product-based accreditation.

- The application shall be kept confidential (until required by law) by NABL and information obtained during the processing of application, assessment visit and grant of accreditation shall be safeguarded and dealt with impartiality. The procedure for processing of application for accreditation is given in NABL 100.

Application Form for Testing Laboratories for Product Based Accreditation

We apply for NABL accreditation of our testing laboratory as per details given below:

|  | First Accreditation |  | Renewal of Accreditation |  |
| --- | --- | --- | --- | --- |

|  | Extension of Scope (Apart from scheduled assessment) |
| --- | --- |

If accredited by NABL, please provide accreditation certificate no. & accreditation validity (if applicable) and CAB ID_____________________________________________________________

- CAB Details

  - Name of the CAB _______________________________________________________________________________

Location(s) and Address(s) ________________________________________________________________________________________________________________________________________________________________

Telephone No.  _______________________ Fax No. _____________________ E-mail _________

Note: refer cl. 14 for details on CAB locations

| 1.2 | Do you conduct Testing in the following Category |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | (if yes, please clearly indicate in the scope of accreditation, sl. no. 2.2, the tests conducted) |  |  |  |  |  |  |
|  | a. | ##### Site Facility (when undertaking testing at site) |  | ##### Yes |  |  | ##### No |
|  | b. | ##### Permanent Facility |  | Yes |  |  | No |
|  | c. | Mobile Laboratory |  | Yes |  |  | No |

If yes then following information shall be provided:

| For Mobile Van | For Movable Container (Detachable from Carrying Vehicle) |
| --- | --- |
| - Vehicle Engine No. - Vehicle Chassis No. - Copy of Vehicle Registration Certificate (RC) - Vehicle Insurance Policy in force. - Copy of Invoice of Vehicle Purchased, in case the Vehicle is owned by the CAB. - In case of rented vehicle, the copy of Legally executed deed for hiring the vehicle. | - The identification number engraved on the Container - Picture/Image of the Container with engraved identification number - Copy of Invoice of Container Purchased, in case the Container is owned by the CAB. - In case of rented container, the copy of Legally executed deed for hiring the container. |

Note:  Please refer NABL-130 for requirements for site /mobile facilities

  - Name of Parent Organization: ______________________________________________________

(If part of an organization)

Telephone No. ____________________ Fax No. ____________________ e-mail ______________

  - Legal identity of the CAB and date of establishment

(Please give Registration No. and name of authority who granted the registration. Copy of the certificate shall be enclosed)

_________________________________________________________________________________

  - Goods and Services Tax (GST) Number along with PAN/ TAN Number: -

________________________________________________________________________________

  - Type of service provided by the CAB:

(Please tick in appropriate box)

| Open to others |  | partly open to others |  | an in-house activity |  |
| --- | --- | --- | --- | --- | --- |

  - Other Accreditations the CAB has __________________________________________________________________________________

  - Indicate exactly how the name and address of the CAB are to appear on the certificate

(In English)

__________________________________________________________________________________

- Accreditation Details

  - Testing of product for which accreditation is sought

| S. No. | Name of the product | Product Standard |
| --- | --- | --- |

  - Scope of Accreditation

| S. No. | Product Name | Discipline | Group | Component, parameter or characteristic tested/ Specific Test Performed/ Tests or type of tests performed | Test Method against which tests are performed and/or the techniques/ equipment used | Range of Testing/ Limits of detection | Uncertainty of Measurement () at Value |
| --- | --- | --- | --- | --- | --- | --- | --- |

Note:

- CAB performing site and/ or Mobile testing shall clearly identify the specific tests on product(s)/ material performed at site and/ or Mobile facility separately.

- Measurement uncertainty shall be expressed as expanded uncertainty with 95% confidence level

- Latest version of test method / standard to be mentioned when the CAB is submitting request for the extra parameters before submission.

- While applying for renewal of accreditation, in case of enhancement of scope it shall be specifically mentioned and clearly identified in the scope of accreditation

- Laboratories having multiple locations in the same district shall clearly identify the scope for each location separately.

- List of products covered under this program is available on NABL website.

- Organization

  - Senior Management (Name, Designation, telephone, Fax, e-mail)

    - Chief Executive of the CAB ____________________________________________________

    - Person responsible for the management system____________________________________

    - Person responsible for technical operations________________________________________

    - Contact person for NABL_______________________________________________________

  - Proposed personnel authorized to report, review and authorization of results (Signing of test reports) of CABs

(Please refer S. No. 19 under Information & Instructions for completing an Application Form)

| S. No. | CAB/ Department/ Section | Name & Designation | Qualification with Specialization | Relevant experience (in years) related to present work | Relevant Training | Authorized for which specific area of testing | Specimen Signature |
| --- | --- | --- | --- | --- | --- | --- | --- |

In case these personnel are not working exclusively for the laboratory (are part time employees), then the details of their other affiliations and employments shall be provided.

  - Organization Chart

    - Indicate in an organization chart the operating departments of the testing CAB for which accreditation is being sought (please append)

    - Indicate how the testing CAB is related to external organizations or to its own parent organization (where applicable)

  - Employees

    - Details of staff

| SI. | Name | Designation | Academic and Professional Qualifications* | Experience related to present work (in years) | Relevant Training |
| --- | --- | --- | --- | --- | --- |

Note:

- CAB shall clearly indicate staff responsible for Site testing

- CAB operating in shifts shall clearly identify the staff working in shifts.

- *Please clearly indicate the area of specialization.

- Equipment and Reference Materials/ Reference standards

  - List of equipment / reference standards available

| SI. | Name of equipment | Model/ type/ year of make | Range and accuracy | Date of last calibration | Calibration due on * | Calibrated by** |
| --- | --- | --- | --- | --- | --- | --- |

* Laboratory shall have access to the equipment for its dedicated use only, either by ownership or by long term contract /lease, generally for 2 years or above. The Laboratory shall have necessary documentation to demonstrate compliance.

* The CAB to decide the calibration interval based on ISO 10012 or ILAC-G24

** Please mention name of calibration agency. In case the equipment is calibrated in-house, same needs to be clearly indicated under this column.

Note-: For traceability in measurement, refer NABL policy document NABL 142

- Internal Audit and Management Review

  - Date of last Internal Audit ______________________________________________________

## Whether all requirements of ISO/IEC 17025:2017, NABL 131, NABL 133, NABL 163, NABL 142 covering all activities of CAB have been audited at least once in last one year

## YES/NO

  - Date of last Management Review_________________________________________________

- Proficiency Testing

  - Participation in PT any other Inter CAB Comparison

(For details and other requirements please refer to ISO/IEC 17043 & NABL 163)

| SI. | Product/ Material | Details of Test(s) | Date of Testing | Nodal CAB/ PT Provider (Accreditation Body/ Country) | Performance in terms of Z score / other criteria | Corrective Action Taken (if any) |
| --- | --- | --- | --- | --- | --- | --- |

- Application Fees

  - Number of groups/Discipline applied for accreditation_________________________________

  - Application Fees (Rs.) _________________________________________________________

  - DD/At par cheque** (Please refer NABL 100) ___________________________________________

Note:

- **All payments made through Cheque(s) or Demand Draft shall be made in favor of ‘Quality Council of India' payable at Gurugram /Gurgaon.

- Kindly make all kind of payments preferably through the ‘Payment Gateway’ available on NABL website

(www.nabl-india.org)

- Declaration by the CAB

##### We declare that

  - We are familiar with the terms and conditions of maintaining accreditation (NABL 131), which is enclosed and will abide by them.

  - We will maintain strict confidentiality of personal sensitive data. This information will not be shared with any other person, agency or organization (unless required by law).

  - We have declared all business and marketing associations/ contracts with other persons/ agency or organizations.

  - We agree to comply fully with ISO/IEC 17025: 2017 for the accreditation of CAB.

  - We agree to the mandatory nature of all test parameters under IS of the relevant product under Product based Accreditation Scheme.

  - We also agree that the accreditation will be granted for testing of product under Product based accreditation program only when the CAB has demonstrated its technical competency for all the test parameters of any product. If the CAB does not have competency even for a single test parameter, then the accreditation for that product will not be granted/renewed.

  - We agree to comply with accreditation procedures, pay all costs for pre-assessment, assessment, verification visit (if any), surveillance and reassessment irrespective of the result.

  - We agree to co-operate with the assessment team appointed by NABL for examination of all relevant documents by them and their visits to those parts of the CAB that are part of the scope of accreditation.

  - We agree to satisfy all national, regional and local regulatory requirements for operating a CAB.

  - We have declared the Information regarding any individual or organization who has provided consultancy (if any).

  - We have declared about the adverse action initiated / taken by NABL against the laboratory in the past, if any. We have also provided information about the owners (proprietor partners, shareholders or Directors) or their family members were part of another laboratory against whom an adverse decision was taken by NABL in last 10 years. (Note: Family members include brother/sister, father/mother, wife/husband, son/daughter).

  - All information provided in this application is true.

Signature of CAB Head _________________________________________________________

Name & Designation ___________________________________________________________

Date & Place _________________________________________________________________

- Application Form - Check List

| Sl. | Information / details provided as part of application | Availability |
| --- | --- | --- |
|  | Complete Application form |  |
|  | Management System Document / Quality Manual (latest issue) according to ISO/IEC 17025: 2017 |  |
|  | Application fees |  |
|  | Copy of Legal Identity (Registration Details of the CAB) |  |
|  | Goods and Service Tax (GST) Number along with PAN/TAN Number |  |
|  | Scope for Accreditation |  |
|  | Details of Senior Management with Designation and Contact Details |  |
|  | List of staff and proposed personnel competent to report, review and authorization of results (Signing of test reports) of CABs |  |
|  | Organization Chart(s) |  |
|  | List of Equipment’s / Reference Material used with details of Traceability |  |
|  | Details of PT/ ILC participation |  |
|  | Dates of Internal Audit and Management Review |  |
|  | Declaration about the Consultant (if any) |  |
|  | Signed copy of NABL 131 (latest issue) |  |

Verified the above details and confirmed the availability of all required documents/ details as part of application form.

Signature of CAB Head ____________________________________________________________

Name & Designation _______________________________________________________________

Date & Place _____________________________________________________________________

Declaration Form

Declaration of the Laboratory Shareholders and Directors

- Details of Shareholder(s) and the Board of Director(s):

| Name of Shareholders/ Directors | % of Shareholding, if any* | Relations, if any, with other director(s)/shareholder (s) | Remarks |
| --- | --- | --- | --- |
| 1. |  |  |  |
| 2. |  |  |  |
| 3. |  |  |  |
| *The total of % shareholding shall add up to 100%. |  |  |  |

- Details of Affiliations of Shareholder(s) and Director(s) with other organizations covering last 10 years)

| Name of Shareholder(s) / Director(s)* | List of Company/ies/ Organizations | Nature of activities | Roles & Responsibilities | Period (MM/YYYY) | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | a. |  |  |  |  |
|  | b. |  |  |  |  |
|  | c. |  |  |  |  |
| 2. | a. |  |  |  |  |
|  | b. |  |  |  |  |
|  | c. |  |  |  |  |
| 3. | a. |  |  |  |  |
|  | b. |  |  |  |  |
|  | c. |  |  |  |  |
| *Please add additional rows if necessary |  |  |  |  |  |

- Details of Family members of Shareholder (s) and Director (s):

| Name of Shareholder (s) / Director (s) | List of Family Members | Relationship | Affiliation/ activities of family members covering last 5 years* |
| --- | --- | --- | --- |
| 1 | a. |  |  |
|  | b. |  |  |
|  | c. |  |  |
| 2 | a. |  |  |
|  | b. |  |  |
|  | c. |  |  |
| 3 | a. |  |  |
|  | b. |  |  |
|  | c. |  |  |
| * Needs to be given in detail for ruling out possibilities of any conflict of interest. |  |  |  |

- How many other labs are operational with the same name as yours, with one or more common owners or with different owners and related to you. Please give details about the locations and shareholders and Directors, etc:

| Other related labs – Name (s)* | Location / Address | Relationship: - Same legal entity - Group company - Common owners (shareholders/ Directors) | Accredited/ Non-accredited |
| --- | --- | --- | --- |
| 1. |  |  |  |
| 2. |  |  |  |
| 3. |  |  |  |
| *Please add additional rows if necessary |  |  |  |

- List of the contracts (including MoUs, B2B agreements, etc) the lab has with other organizations/laboratories for the purpose of testing business, franchisee arrangements, marketing, subcontracting/outsourcing of tests on your behalf as well as conducting tests on their behalf. Please give details:

| Name of the organization with whom the lab has MOU/Contract* | Nature of contract | Enclose copy of the contract | Remarks |
| --- | --- | --- | --- |
| 1. |  |  |  |
| 2. |  |  |  |
| 3. |  |  |  |
| *Please add additional rows if necessary |  |  |  |

- In case the laboratory intends to use or carry out its reporting under a specific trade mark/brand, then the details of the same shall be provided with the application along with the proof of registration and ownership.

Note 1: In case of partnership companies, the shareholders mean the partners

Note 2: Family members include brother/sister, father/mother, wife/husband, son/daughter, and corresponding in-laws

Note 3: This declaration form is to be filled giving accurate, complete and latest information. As and when changes occur in the information provided, the CAB to provide the updated “Declaration”, within 15 days of the changes taking place, failing which lab may be subject to adverse decisions as described in NABL 216.

It is declared that we shall re-submit the declaration as and when there is any change in the information provided above.

Signature of Shareholder/ Director______________________________________________________

(Authorized signatory)

Name & Designation _________________________________________________________________

Date & Place _______________________________________________________________________

National Accreditation Board for Testing and Calibration Laboratories (NABL)

NABL House

Plot No. 45, Sector- 44,

Gurugram – 122003, Haryana

Tel.: +91-124 4679700

###### Fax: +91-124 4679799

Website: www.nabl-india.org