|  |  | NABL 152 |
| --- | --- | --- |
|  | National Accreditation Board for Testing and Calibration Laboratories (NABL) |  |

Application Form for Calibration Laboratories

| ISSUE NO.: 14 ISSUE DATE: 25-Jun-2018 | AMENDMENT NO.: 04 AMENDMENT DATE: 21-Jul-2023 |
| --- | --- |

AMENDMENT SHEET

| S. No. | Amendment No. | Page No. | Clause No. | Date of Amendment | Amendment | Reasons | Signature QA Team | Signature CEO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 01 | 4/10 | -- | 27.03.2019 | Inclusion of LLP as highlighted in support of legal status claimed | Policy decision as per NABL 165 | -Sd- | -Sd- |
|  | 02 | 3/10 | -- | 27.04.2020 | As highlighted | In-line with Cl. 7.2.4 of ISO/IEC 17011: 2017 | -Sd- | -Sd- |
|  |  | 3/10 | -- |  | As highlighted | As per NABL 165 |  |  |
|  |  | 3/10 | -- |  | Reference to NABL 201 is removed and NABL 133 document name corrected | NABL 201 has been withdrawn and NABL 133 name aligned. |  |  |
|  |  | 4/10 | -- |  | Alignment of Scope of Accreditation as highlighted | In-line with Cl. 7.8.3 of ISO/IEC 17011: 2017 |  |  |
|  |  | 4/10, 7/10, 10/10 | -- |  | Rearrangement in the text related to the personnel authorized for review and report the calibration results as highlighted | Policy decision |  |  |
|  |  | 6/10 | -- |  | Alignment of Scope of Accreditation as highlighted | In-line with Cl. 7.8.3 of ISO/IEC 17011: 2017 |  |  |
|  |  | -- | -- |  | Deletion of ISO/IEC 17025: 2005 | Release of ISO/IEC 17025: 2017 |  |  |
|  |  | 7/10 | 3.4.1 |  | Requirements of 4 days training removed | Outcome of management review |  |  |
|  |  | 3 | 2 | 30.06.2020 | Removal of reference to NABL 165 | NABL 165 has been withdrawn. | -Sd- | -Sd- |
|  |  | 4, 9 12 | 15b, 3.2, S. No. 8 |  | Test report is replaced with calibration certificate | Internal review |  |  |
|  |  | 4 | 18 |  | S. No. 18 included. | Due to NABL 165 withdrawn, qualification and experience requirements for personnel responsible for report, review and releasing calibration results are included in this document. |  |  |
|  |  | 8 | 2.2 Note iv |  | Test word is replaced with calibration. | Internal review |  |  |
|  |  | 9, 11 | 3.3 8.2 |  | Testing laboratory word is replaced with calibration laboratory. | Internal review |  |  |
|  | 06 | 4, 5, 6, 7 | -- | 21. 07.2023 | Segregation of requirements & instructions to be followed and information for calibration laboratories | Internal review | -Sd/- | -Sd/- |
|  |  |  |  |  | As highlighted |  |  |  |
|  |  | 8 | 1.1, 1.3, 1.6 |  | As highlighted |  |  |  |
|  |  | 9 | 2.2 |  | As highlighted |  |  |  |
|  |  | 10 | 3.1 & 3.3.2, 3.4.1 |  | As highlighted |  |  |  |
|  |  | 11 | 4 |  | As highlighted |  |  |  |
|  |  |  | 6.2 |  | Addition of highlighted text |  |  |  |
|  |  | 14 | -- |  | Declaration Form included |  |  |  |

CONTENTS

| ### S. No. | ##### Title | Page No. |
| --- | --- | --- |
|  | Amendment Sheet | 1 |
|  | Contents | 2 |
|  | Requirements to be fulfilled and instructions to be followed by the calibration laboratories while applying for NABL Accreditation | 4 |
|  | Information for the calibration laboratories applying for NABL Accreditation | 7 |
|  | Application form for Calibration Laboratory Accreditation | 8 |

Requirements to be fulfilled and instructions to be followed by the calibration laboratories while applying for NABL Accreditation

- Application shall be made in the prescribed form NABL 152 only. All applied disciplines of calibration should be covered in the same application form. The application shall consist of the following:

- Completed application form.

- Management System Document (how-so-ever named)

- Prescribed application fees

- Duly signed NABL 131

Note: Incomplete application, false information and concealing the information and fraudulent behavior, discovered any time during accreditation process may lead to rejection of application or termination of the assessment process by denial of accreditation.

- The applicant/accredited laboratory shall undertake to carry out its calibration activities in such a way as to meet the requirement of ISO/IEC 17025: 2017, NABL Application documents/specific criteria (wherever applicable), other relevant requirements of NABL and the regulatory authorities, as applicable at all times.

Note: Other relevant requirements of NABL are mentioned in documents such as NABL 129, NABL 133, NABL 142, NABL 143 & NABL 163.

- Applicant/accredited laboratories are advised to ensure that the latest versions of NABL documents are available with them and are implemented.

- Laboratories are advised to familiarize themselves with NABL 100A ‘General Information Brochure’ NABL 100B ‘Accreditation Process & Procedure’, NABL 216 ‘Procedures for Dealing with Adverse Decisions’, NABL 131 ‘Terms and Conditions for Obtaining and Maintaining NABL Accreditation’ and NABL 133 ‘Policy for Use of NABL Symbol and/or Claim of Accreditation by Accredited Conformity Assessment Bodies (CAB) & NABL Accredited CAB Combined ILAC MRA Mark’ before filling up this form.

- The applicant/accredited laboratory shall provide/upload copy of any one of following appropriate document (as applicable) in support of the legal status claimed:

| Type of Legal Entity | Document to be submitted |
| --- | --- |
| One Person Company | Registration certificate under The Companies Act, 2013 |
| Limited Liability Partnership | Registration certificate under The Limited Liability Partnership Act, 2008 |
| Company | Registration certificate under The Companies Act, 1956 or 2013 |
| Societies/ Trust | Registration certificate under Societies Registration Act, 1860/ Registration under The Indian Trusts Act, 1882 |
| Government | Gazette or Government Notification or self-Declaration on Letter head by Head of the organization |

|  |  | The applicant/accredited laboratory shall provide the complete address of the laboratory for which it is seeking accreditation including the PIN Code. In case the applicant laboratory is located as a part of a larger organization/institution, then the exact address where the laboratory is located (eg. name of the building or in which floor the laboratory is located or any other unique identification of the laboratory’s address, etc.) and seeking accreditation shall be provided. |
| --- | --- | --- |
|  |  | The applicant/accredited laboratory may also provide any document issued by Government/local authorities in support of the address of the laboratory. |
|  |  | The applicant/accredited laboratory shall provide the layout of the premises including the details of laboratories departments/section. |

- NABL expects applicant/accredited laboratories that are to be accredited to follow the calibration methods as mentioned in the current National or International standards. Where such methods do not exist, other validated methods (in-house method, lab developed method, changes from National /International methods, etc.) are acceptable. However, appropriate reference to the method (like number, issue date, etc.) on which the method is based shall be provided along with application. The validation data shall be submitted for all validated methods along with the application.

- The applicant/accredited laboratory shall participate in the Proficiency Testing (PT) programs in accordance with the requirements specified in NABL 163 ‘Policy for Participation in Proficiency Testing Activities’.

- The application must be filled up carefully to provide required information in such a manner that further correspondence for seeking clarifications are not required. Particularly the scope of accreditation (para 2.2) shall be complete to indicate unambiguously:

- Measurand or Reference Material/ Type of instrument or material to be calibrated or measured/Quality measured/ Instrument

- Calibration or Measurement Method or Procedure

- Measurement range (SI unit) and additional parameters where applicable (Range and Frequency)

- Calibration and Measurement Capability (CMC) (±) (the measurement uncertainty shall be in the same unit as that of measurand or in a term relative to the measurand (e.g. absolute value or % etc.))

- Type of facility (Permanent/ Site/Mobile/Permanent site facility)

- Please also fill the enclosed “Declaration Form”, by providing accurate and complete details.

- If there is a specific government regulation concerning the calibration activities covered in the scope of accreditation applied, laboratory shall then provide the complete list of applicable regulations giving full details.

- The applicant/accredited laboratory shall submit NABL 131 duly signed by the top management (Chief Executive Officer/Head of the laboratory) to NABL Secretariat along with this application form. By signing NABL 131 the laboratory agrees to comply at all times with Terms & Conditions for Obtaining & Maintaining NABL Accreditation.

- The applicant/accredited laboratory shall take all necessary actions and discharge all non-conformities raised during the assessment within 30 days from the date of assessment. The same shall be verified to the satisfaction of NABL. The final decision on accreditation shall rest with NABL.

- The applicant/accredited laboratory shall not influence NABL. In case of using influence, application will be rejected / assessment process will be discontinued by denial of accreditation.

- The proposed personnel for report, review and authorization of results shall meet the minimum qualification and experience requirements as mentioned below:

| SI. | Minimum Qualifications | Minimum Years of Relevant hands on Experience |
| --- | --- | --- |
|  | Bachelor’s degree in Engg. /Technology or Post Graduate in Science in the same field of calibration | Two Years’ experience |
|  | Bachelor’s degree in Engg. /Technology or Post Graduate in Science in the similar* field of calibration | Three Years’ experience |
|  | Diploma in Engg./ Technology or Graduate in Science in the same field of calibration | Three Years’ experience |
|  | Diploma in Engg. /Technology or Graduate in Science in the similar* field of calibration | Five Years’ experience |
|  | ITI / Equivalent | Ten Years’ experience. |
| Note - - *Similar field may be considered when that particular subject is covered in the said qualification. - Qualification with specialized field shall be considered eligible for groups falling under more than one discipline of calibration; - In each case, merely requisite qualifications and experience is not sufficient. The technical competence shall be verified by NABL assessment team during the assessment. |  |  |

- Personnel declared by laboratory to report, review and authorize the results shall not work in another laboratory which falls under different legal identity. However, in case another laboratory under the same legal entity is situated in other location(s), then a person declared by the laboratory for one location may be authorized at another location under the same legal entity, provided, there is one dedicated permanent personnel available to review, report and release the calibration results at each location.

The personnel performing Radiological calibration activity shall have training from an agency recognized by BARC/AERB covering the aspects of calibration of radiation monitoring instruments and radiation safety aspects.

Note: This shall not mean that they are permitted to do the activity of “report, review and authorization of results”, without physical presence.

Information for the calibration laboratories applying for NABL Accreditation

- The applicant/accredited laboratory shall inform NABL without delay (within 15 days) of significant changes relevant to accreditation, such as:

- its legal, commercial, ownership or organizational status,

- resources not limited to personnel, facilities, equipment to manage and perform its laboratory activities, person responsible for report, review and authorizing the results,

- premises,

- scope of accreditation,

- any other factor that may affect the ability of the laboratory to fulfill the requirements of NABL accreditation including policies & ISO/ IEC 17025.

- any other change in information submitted in application.

- The laboratory shall inform NABL regarding its reservations (such as working for immediate competitor, previous employee, previous relationships, etc.) on appointment of Lead Assessor/Assessor/Technical Expert for the assessment, giving detailed basis for such reservations. These will be considered based on the validity and reasonableness of the reservation given and suitable actions will be taken, especially for the reasons such as threat to impartiality, etc.

- The application fee and other necessary charges related to accreditation process is given in NABL document NABL 100A ‘General Information Brochure’ under Fee Structure’. NABL 100A is available on NABL website.

- The laboratory shall offer NABL or its representative cooperation for below mentioned process failing which adverse action will be taken as per NABL 216 “Procedures for Dealing with Adverse Decisions”.

- undertaking any check to verify calibration capability of the laboratory.

- providing names of all personnel competent to report, review and authorization of results (Signing of calibration certificate) of laboratory.

- assessing the competence of the staff (including staff working in shift operations / at site) during assessment.

- accessing all laboratory areas of operations including Mobile/temporary, site facility, external service provider premises, wherever relevant and applicable.

- offering access to relevant areas of the lab for witnessing the calibration being performed.

- examining of all relevant documentation and records.

- interaction with all relevant personnel.

- The Calibration and Measurement Capability is expressed as the least uncertainty of measurement at a defined confidence probability level. It must be expressed at 95% confidence level. The coarser of the uncertainty claimed and the demonstrated during the on-site assessment shall be recommended as CMC. However, in case, laboratory desire for better or finer CMC proper justification with recommendation from assessment team should be provided to NABL.

- The applicant/accredited laboratory shall be given due notice of any intended changes relating to NABL accreditation criteria and/or accreditation procedure and will also be given such time, as considered reasonable to carry out the necessary changes to its policies/practices & procedure(s). The applicant laboratory shall inform NABL when such changes have been completed.

- The application shall be kept confidential (until required by law) by NABL and information obtained during the processing of application, assessment visit and grant of accreditation shall be safeguarded and dealt with impartiality. The procedure for processing of application for accreditation is given in NABL 100B “Accreditation Process & Procedure”.

- Request for any change in applied scope of accreditation, equipment and personnel including personnel to report, review and authorize the results during ongoing onsite assessment will not be accepted.

- Laboratory shall keep the submitted application and assessment report strictly confidential & these shall not be disclosed with third party & if application & assessment reports are observed to be disclosed to third party, then adverse action will be taken as per NABL 216 “Procedures for Dealing with Adverse Decisions”.

Application Form for Calibration Laboratory Accreditation

We apply for NABL accreditation of our calibration laboratory as per details given below:

|  | Initial Accreditation |  | Renewal of Accreditation |
| --- | --- | --- | --- |

|  | Extension of Scope |
| --- | --- |

If accredited by NABL (currently/previously), please provide accreditation certificate no. & accreditation validity and Laboratory ID__________________________________________________________________

- LABORATORY DETAILS

  - Name/Identification of the Calibration Laboratory ___________________________________________________________________________________

Note: Accreditation is granted to the registered Legal Entity (Ref. Cl. No. 5 mentioned under “Requirements to be fulfilled and instructions to be followed by the calibration laboratories while applying for NABL Accreditation” above), hence the same may be clearly stated above. If the laboratory is a defined part of a legal entity, having a defined name/division, the same may also be stated. In case it is defined part of the legal entity separated through location, then it shall be identified accordingly in unique terms.

Address____________________________________________________________________________

Note: (Please indicate if the premise is owned or is acquired on lease, as applicable. Copy of proof of ownership or registered lease agreement shall be enclosed as evidence). Large institutions/government entities may be exempted on providing justification.

Telephone No.  ____________________ Fax No. _____________________ E-mail _______________

Note: The email id will be used to provide official information and notices by NABL and hence an official email id shall be provided which is used on a regular basis. Any changes in this regard shall also be informed without delay.

  - Category of calibration facility(s) applied under the scope of Accreditation

| (Please clearly indicate in the scope of accreditation, para 2.2, the calibration conducted at the site/mobile/permanent site facility, as applicable.) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| a. | ##### Permanent Calibration |  |  | ##### Yes |  |  | ##### No |
| b. | ##### Site Calibration |  |  | ##### Yes |  |  | ##### No |
| c. | Mobile Calibration |  |  | Yes |  |  | No |

Note:  for details please refer NABL 130

  - Laboratory carrying out calibration at permanent site facility? (YES/NO)

If yes, provide the address of the permanent site facility(s). Address of such site facility(s) will not be mentioned in accreditation certificate & annexures for scope of accreditation. There should be no overlapping of the scope of main address and permanent site facility(s).

  - Name of the Head Office / Parent Organization in case the laboratory is part of a Legal Entity _____________________________________________________________________________

Telephone No. ____________________ Fax No. ____________________ e-mail ________________

  - Legal identity of the laboratory and date of establishment

(Please give Registration No. and name of authority who granted the registration. Copy of the certificate shall be enclosed. Refer Cl. No. 5 mentioned under “Requirements to be fulfilled and instructions to be followed by the calibration laboratories while applying for NABL Accreditation”)_________________________________________________________

  - Any adverse action been initiated/taken against the laboratory in the past by NABL? YES/NO

(If yes, please provide the details with present status)

  - Goods and Services Tax (GST) Number along with PAN/ TAN Number:- _____________________

}

  - Type of service provided by the Calibration Laboratory:

(please tick in appropriate box)

| Open to others |  | partly open to others |  | an in-house activity |  |
| --- | --- | --- | --- | --- | --- |

  - Other Accreditations ________________________________________________________________

  - Indicate exactly how the name and address of the laboratory are to appear on the certificate

(In English) ____________________________________________________________________

- ACCREDITATION DETAILS

  - Discipline of Calibration for which accreditation is sought                                                                                   (Please tick the appropriate box, separate application to be filled for each discipline)

|  | Electro-Technical |  |  |  | Medical Devices |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Mechanical |  |  |  |  |  |
|  | Fluid Flow |  |  |  |  |  |
|  | ##### Thermal |  |  |  |  |  |
|  | ##### Optical |  |  |  |  |  |
|  | ##### Radiological |  |  |  |  |  |

  - Scope of Accreditation

| S. No. | Measurand or Reference Material/ Type of instrument or material to be calibrated or measured/ Quantity Measured / Instrument | Calibration or Measurement Method or Procedure | Measurement range and additional parameters where applicable (Range and Frequency) | Calibration and Measurement Capability (CMC) (±) (in absolute value or in %) | Type of Calibration facility (Permanent/ Site/ Mobile/ Permanent Site facility) |
| --- | --- | --- | --- | --- | --- |

| Note |  | Calibration and Measurement Capability are to be expressed as uncertainties () for confidence level at 95% |
| --- | --- | --- |
|  |  | Laboratories calibrating at site/mobile/permanent site facility shall clearly identify the specific calibrations performed on product(s)/ material performed at site/mobile/permanent site facility. |
|  |  | While applying for renewal of accreditation, it shall be specifically mentioned and clearly identified in the scope of accreditation |
|  |  | Latest calibration method standard to be mentioned in the applied scope. |
|  |  | As far as practicable, the SI units of measurements shall be used in the applied scope. |
|  |  | For Electro technical discipline, scope shall be applied parameters wise where as for other disciplines scope shall be applied DUC wise. |
|  |  | For Calibration of Medical Devices, please refer sample scope given in NABL 126. |
|  |  | For detailed information on classification of groups, NABL 120: Guidance for Classification of Product Groups in Testing & Calibration Fields & relevant specific criteria are to be referred. |

- ORGANIZATION

  - Senior Management (Name, Designation, telephone, Fax, e-mail)

    - Head of the Laboratory, having overall responsibility (The email id will be used to provide official information and notices by NABL) _________________________________________________________________________________

    - Person responsible for the laboratory management system (Person may be contacted for any issue related to management system) __________________________________________________________________________________

    - Person(s) responsible for technical operations in the disciplines applied for (Person may be contacted for any issue related to technical requirements.) ___________________________________________________

    - Contact person for NABL (This email will be used as the primary contact for all NABL correspondence related to accreditation process) _________________________________________________________________

Note: Please also give the designation as per laboratory management system

  - Proposed personnel declared to report, review and authorization of results (Signing of calibration certificates) of laboratory

| SI. | Laboratory/ Department/ Section | Name & Designation | Qualification with Specialization | Relevant experience (in years) related to present work | Relevant Training | Authorized for which specific area of calibration | Specimen Signature |
| --- | --- | --- | --- | --- | --- | --- | --- |

  - Organization Chart

    - Indicate in an organization chart the operating departments of the calibration laboratory for which accreditation is being sought (please append).

    - Indicate how the applicant/accredited calibration laboratory is related to its parent organization (see above), where applicable. Please also indicate if some of the responsibilities as described in ISO/IEC 17025 are shared by the parent organization.

Note: If the lab is a defined part of a legal entity, then the organization structure of the Legal entity, with place of the laboratory within the larger structure (legal entity/parent organization) shall also be submitted, clearly identifying the other activities performed by the legal entity.  If the laboratory is one of the laboratories in a chain of laboratories, then the relationship among the laboratories also be described.

  - Employees

    - Details of staff (Technical as well as those for support functions)

| SI. | Name | Designation | Academic and Professional Qualifications* | Experience related to present work (in years) | Relevant Training |
| --- | --- | --- | --- | --- | --- |

| Note |  | Laboratory shall clearly indicate staff responsible for permanent/site/mobile/ permanent site calibration |
| --- | --- | --- |
|  |  | Laboratory operating in shifts shall clearly identify the staff working in shifts. |
|  |  | *Please clearly indicate the area of specialization. |

- EQUIPMENT

| SI. | Field & Parameter | Equipment | Model/ type/ year of make | Receipt dt. & dt. placed in service | Range | Measurement Uncertainty | Dt. of last calibration/ calibration due on* | Calibrated by** | Metrological Traceability |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Note |  | Laboratory shall have access to the measuring and analytical equipment for its dedicated use only, either by ownership or by long term contract /lease, generally for 2 years or above. The Laboratory shall have necessary documentation to demonstrate compliance. |
| --- | --- | --- |
|  |  | the laboratory to decide the calibration interval based on ISO 10012 or ILAC-G24. |
|  |  | ** Please mention name of calibration agency. In case the equipment is calibrated in-house, same needs to be clearly indicated under this column. |
|  |  | For metrological traceability in measurement, refer NABL policy document NABL 142. |

- INTERNAL AUDIT AND MANAGEMENT REVIEW

  - Date of last Internal Audit ____________________________________________________________

## Whether all requirements of ISO/IEC 17025:2017 covering all activities of laboratory have been audited at least once in last one year

## YES/NO

  - Date of last Management Review___________________________________________________

- PROFICIENCY TESTING/ INTERLABORATORY COMPARISON

  - Participation in Proficiency Testing

Participation in PT / any other Inter Laboratory Comparison

(For details and other requirements, please refer to ISO/ IEC 17043, NABL 163 & NABL 164)

| SI. | Measurand or Reference Material/ Type of instrument or material to be calibrated or measured/ Quantity Measured / Instrument | Calibration or Measurement Method or Procedure | Date of Calibration | PT Provider (Accreditation body/ Country) | Performance in terms of En value | Corrective action taken |
| --- | --- | --- | --- | --- | --- | --- |

  - Participation in Interlaboratory Comparison

| SI. | Measurand or Reference Material/ Type of instrument or material to be calibrated or measured/ Quantity Measured / Instrument | Calibration or Measurement Method or Procedure | Date of Calibration | Nodal laboratory (Accreditation body/ Country) | Performance in terms of En value | Corrective action taken (if applicable) |
| --- | --- | --- | --- | --- | --- | --- |

- APPLICATION FEES

  - Number of groups* applied for accreditation_______________________________________________

  - Application Fees (Rs.) ________________________________________________________________

Note:

- *For detailed information on classification of groups, NABL 120: Guidance for Classification of Product Groups in Testing & Calibration Fields & relevant specific criteria are to be referred.

- Kindly make all kind of payments through NABL Portal or through the ‘Payment Gateway’ available on NABL website (www.nabl-india.org)

- DECLARATION BY THE LABORATORY

##### We declare that

  - We are familiar with the Terms & Conditions for Obtaining and Maintaining NABL Accreditation (NABL 131), which is enclosed and will abide by it. We have understood the requirements given in NABL 133

  - We have declared and submitted accurate and complete information in the enclosed “Declaration Form”

  - We agree to comply fully with ISO/IEC 17025: 2017 for the accreditation of laboratory.

  - We agree to comply with accreditation procedures, pay all costs for pre-assessment (if opted), assessment, supplementary visit (if any), surveillance and reassessment irrespective of the result.

  - We agree to co-operate with the assessment team appointed by NABL for examination of all relevant documents/records by them and their visits to those parts of the laboratory that are part of the scope of accreditation.

  - We comply to all national, regional and local regulatory requirements for operating a laboratory.

  - __________________________________________________________________ has provided consultancy for preparing towards NABL accreditation. [Information regarding any individual or organization who provided consultancy (if any) for NABL accreditation shall be declared].

  - All information provided in this application are true.

Signature of Head of the Laboratory _____________________________________________________

Name & Designation _________________________________________________________________

Date & Place ______________________________________________________________________

- APPLICATION FORM - CHECK LIST

| Sl. | Information / details provided as part of application | Availability |
| --- | --- | --- |
|  | Application in prescribed NABL 152 for all disciplines (e.g. Mechanical/ Electro-technical / Thermal etc.) |  |
|  | Management System Document (howsoever named) latest issue according to ISO/IEC 17025: 2017 |  |
|  | Application fees - Information on total groups* applied for accreditation *applicable for Mechanical calibration. - Estimated applicable fees as per NABL 100A - Details of NEFT & details of payment made through Payment Gateway of NABL |  |
|  | Copy of proof of Legal Entity Status |  |
|  | Goods and Service Tax (GST) Number along with PAN/TAN Number |  |
|  | Scope of Accreditation with Measurand or Reference Material/ Type of instrument or material to be calibrated or measured/ Quantity Measured / Instrument, Calibration or Measurement Method or Procedure, Measurement range and additional parameters where applicable (Range and Frequency) and Calibration and Measurement Capability (CMC) (±) |  |
|  | Details of Senior Management with Designation and Contact Details |  |
|  | List of Staff and proposed personnel declared to report, review and authorization of results (Signing of calibration certificates) of laboratory |  |
|  | Organization Chart enclosed (see clause 3.3.1 of the Application Form for Details) |  |
|  | List of Equipment used with details of metrological traceability to SI Units |  |
|  | Details of PT/ILC participation |  |
|  | Dates of Internal Audit and Management Review |  |
|  | Declaration about the Consultant (if any) |  |
|  | Signed copy of NABL 131 (latest issue) which includes the policy mentioned in NABL 133 |  |

Verified the above details and confirmed the availability of all required documents/ details as part of application form.

Signature of Head of the Laboratory____________________________________________________

Name & Designation ________________________________________________________________

Date & Place ______________________________________________________________________

Declaration Form

Declarations by the Laboratory Shareholders and Directors

- Details of Owners, Partners, Shareholder(s) and/or the Board of Director(s) as the case may be:

| SI. | Name of Shareholders/ Directors | % of Shareholding, if applicable* | Relations, if any, with other director(s)/shareholder (s) | Remarks |
| --- | --- | --- | --- | --- |

*The total of % shareholding shall add up to 100%, as the case may be.

Please add additional rows if necessary

- How many other labs are operational with the same name as yours, with one or more common owners or with different owners and related to you. Please give details about the address, shareholders and Directors, etc.:

| SI. | Other related labs – Name (s)* | Address | Relationship - Same legal entity - Group Company - Common Owners (Shareholders/Director) | Accredited/Non-Accredited |
| --- | --- | --- | --- | --- |

Please add additional rows if necessary

- List of the contracts (including MoUs, B2B agreements, etc) the lab has with other organizations/laboratories for the purpose of calibration business, franchisee arrangements, marketing, subcontracting/outsourcing of tests on your behalf as well as conducting tests on their behalf. Please give details:

| SI. | Name of the organization with whom the lab has MOU/Contract* | Nature of Contract | Enclose copy of contract (optional) | Remarks |
| --- | --- | --- | --- | --- |

Please add additional rows if necessary

- In case the laboratory intends to use or carry out its reporting under a specific trade mark/brand, then the details of the same shall be provided with the application along with the proof of registration and ownership & permission.

Note: This declaration form is to be filled giving accurate, complete and latest information. As and when changes occur in the information provided, the laboratory to provide the updated “Declaration”, within 15 days of the changes taking place, failing which lab may be subject to adverse decisions as described in NABL 216.

It is declared that we shall re-submit the declaration as and when there is any change in the information provided above.

Signature of Shareholder/Director___________________________________________________________

Name & Designation______________________________________________________________________

Date & Place______________________________________________________________________

National Accreditation Board for Testing and Calibration (NABL)

NABL House

Plot No. 45, Sector- 44,

Gurugram – 122003, Haryana

Tel.: +91-124 4679700

###### Fax: +91-124 4679799

Website: www.nabl-india.org